## Sheet1
MaintPlant | TAG | FunctLocCat. | Description | SupFunctLoc. | Location | System | ABC Indic. | System status | User status | PVTAG | type | name | description | parents | tagnumber | pandid | purpose | maintainablegroup | hazardousareaclassification | links | groups | _version | _ancestors | _haschildren | _hascycle | _isorphaned | _groupAssociations | _source
1350 | 1350-1,5-GN-545-0-329-CC93 | P | DRAIN MOTOR GAS INLET VALVES METERING | 1350-545-PIPING | T38-METR | 545 | 2 | CRTE | INSV
1350 | 1350-1,5-GN-545-0-331-CC93 | P | DRAIN MOTOR GAS OUTLET VALVES METERING | 1350-545-PIPING | T38-METR | 545 | 2 | CRTE | INSV
1350 | 1350-1,5-GN-545-0-357-CC93 | P | SUPPLY 527HV1300 | 1350-545-PIPING | T38-METR_1 | 545 | 3 | CRTE | INSV
1350 | 1350-1,5-GN-545-0-359-CC93 | P | SUPPLY 527HV2300 | 1350-545-PIPING | T38-METR_2 | 545 | 3 | CRTE | INSV
1350 | 1350-1,5-GN-545-0-361-CC93 | P | SUPPLY 527HV3300 | 1350-545-PIPING | T38-METR_3 | 545 | 3 | CRTE | INSV
1350 | 1350-1,5-WG-554-0-327-FC11 | P | BYPASS 554FV0301 | 1350-554-PIPING | T38-UTIL | 554 | 2 | CRTE | INSV | 1350-1,5-WG-554-0-327-FC11 | equipment | 1350-1,5-WG-554-0-327-FC11 | 1,5 IN, FRESH COOL W. L., WATER GLYC SYS | system/1350-554-PIPING | [7 empty] | 0 | site/5, system/1350-554-PIPING, system/1350-PIPING | FALSE | FALSE | FALSE |  | Import
1350 | 1350-1-AP-563-0-329-GG12 | P | FROM 563KB300B TO OIL-WATER SEPERATOR | 1350-563-PIPING | T38-UTIL | 563 | 1 | CRTE | INSV | 1350-1-AP-563-0-329-GG12 | equipment | 1350-1-AP-563-0-329-GG12 | 1 IN, PLANT AIR L., COMPRESSED AIR SYS | system/1350-563-PIPING | [7 empty] | 0 | site/5, system/1350-563-PIPING, system/1350-PIPING | FALSE | FALSE | FALSE |  | Import
1350 | 1350-1-FO-571-0-301-AC02 | P | INLET 571PA303B | 1350-571-PIPING | T38-FWPS | 571 | 2 | CRTE | INSV | 1350-1-FO-571-0-301-AC02 | equipment | 1350-1-FO-571-0-301-AC02 | 1 IN, FUEL OIL, FIRE WATER SYS | system/1350-571-PIPING | [7 empty] | 0 | site/5, system/1350-571-PIPING, system/1350-571 | FALSE | FALSE | FALSE |  | Import
1350 | 1350-12-GN-525-0-303-DC91 | P | KICKER LINE | 1350-525-PIPING | T38-PIG | 525 | 3 | CRTE | INSV | 1350-12-GN-525-0-303-DC91 | equipment | 1350-12-GN-525-0-303-DC91 | 12 IN, NAT GAS L., PROCESS PLANT | system/1350-525-PIPING | [7 empty] | 0 | site/5, system/1350-525-PIPING, system/1350-PIPING | FALSE | FALSE | FALSE |  | Import
1350 | 1350-577-GE-0658 | R | REGISTER INLET EXTRACTION FAN 1 LVS | 1350-577-GK-0651 | T39-LVS | 577 | 4 | CRTE | INSV | 1350-577-GE-0658 | equipment | 1350-577-GE-0658 | REGISTER INLET EXTRACTION FAN 1 LVS | equipment/1350-577-GK-0651 | [7 empty] | 0 | site/5, equipment/1350-577-GK-0651, system/1350-577-06-AIR, system/1350-577-06, system/1350-577 | TRUE | FALSE | FALSE |  | Import
[10 empty] | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
[10 empty] | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
[10 empty] | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
[10 empty] | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
[10 empty] | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
[10 empty] | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
[10 empty] | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
[10 empty] | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
[10 empty] | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
[10 empty] | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA